## Slide 1: Energy Community Gas Ring - A Vision for SEE Gasification: A presentation on the findings from the ongoing World Bank/Kfw SEE Gasification Study
IFIAG Energy Group Meeting
September, 2007
Notes: OPENING REMARKS: I would like to thank the organizers, the EC, for inviting me for this important event. It is always a pleasure to come her to this wonderful city and meet up with friends from the industry.
For those of you who I did not have a chance to meet, my name is Franz Gerner, and I am a senior energy economist with the World Bank, focusing in particular on natural gas project in the region.

## Slide 2: SEE Energy Challenge
Electric Power System
  Installed capacity of 45 GW needs significant investment/ upgrade
  22 GW of new/upgraded generation capacity required until 2020
  Environmental upgrades to meet EU standards (incl. SO2 and CO2)
  GIS Study shows ‘avoided investments’ of 4.5 GW if least cost regional approach for power generation development adopted
Natural Gas System
  Security of supply concerns (highly dependent on Russian gas)
  Regional and national gas networks are underdeveloped
Substantial investment requirements for power and gas to close emerging energy supply and demand gap

## Slide 3: The SEE Gasification Study
Objective
  Identify viable regional, cross-border and country-specific gas infrastructure
Financing and Timing
  World Bank and KfW financed/supported by EC
  Inception Report presented at Mini-Gas Forum in Vienna, October 2006
  Interim Report presented at Mini-Gas Forum in Vienna, May 2007
  Draft Final Report will be presented at Gas Forum in Maribor, November 2007

## Slide 4: Study Approach
Includes ‘Nine’ Gas Markets
  Albania, Bosnia and Herzegovina, Bulgaria, Croatia, Kosovo, Macedonia, Montenegro, Romania, Serbia
Key Tasks of Study
  Long term gas demand forecasts
  Analyze various piped gas sources (Russia, Caspian and Middle East)
  Economics of new gas transmission pipelines
  Economics of LNG compared to piped gas
  Regulatory and institutional barriers

## Slide 5: Projected Gas Demand in SEE

## Slide 6: Is Gas A Competitive Fuel for SEE?
Economic netback calculations indicate that
  Gas is competitive for residential, commercial, industrial customers
  GIS shows viability of installing 2-3 GW of new CCGT
Benefits by ‘Internalizing’ Negative Externalities
  Environmental/climate change benefits are substantial (eg lower emissions of CCGT plants)
  Health benefits (eg indoor pollution decreases by households switching to gas)
  Other benefits (diversification of energy sources, security of supply)

## Slide 7: Current Gas Situation in SEE
Partial Gasification
  Croatia, Romania most extensive network
  Limited or no gas network in Bosnia and Herzegovina, Macedonia, Montenegro, Albania, Kosovo
Separate National Systems
  Limited interconnections
  No volume synergies and regional trading opportunities
Mostly Dependent on Russia Gas
  Some domestic production - Croatia, Bulgaria, Romania

## Slide 8
‘web’
ring
linear-radial
network
spur
Current
Situation

## Slide 9: Potential Supply Sources of Gas
Sources of Future Gas Supply
  Russian, Caspian and Middle East ‘piped’ gas
  LNG proposals along Adriatic coast and Black Sea
SEE Gasification Study indicates:
  Caspian/Middle East gas competitive to Russian gas
  Economics of LNG for gasification of SEE currently being analyzed
Many new pipelines are proposed but not all will be built at once!

## Slide 10
White Stream
Nabucco
‘Nord’
TAP
TGI
SCP
‘
Blueline
’
‘Sud’
‘South Stream’
PEGP
Euro-Arab Mashreq
Proposed New Gas Pipelines

## Slide 11: The Energy Community Gas Ring
SSE Gasification Study proposes
  Substantial gas infrastructure development in SEE to meet future demand
  The creation of a ‘Gas Ring’ to integrate Western Balkan markets
Currently various alternative Gas Ring routings being investigated
The overall concept of the Gas Ring is economically and financially viable

## Slide 12
Caspian or Russian gas via Greece (TGI or TAP or South Stream/’Sud’)
LNG?
Mix of gas via Croatia
Offshore?
Russian gas via Hungary and Serbia or Croatia
Caspian gas via Romania (Nabucco)
Caspian gas via Romania
(White Stream & PEGP)
Russian gas via Bulgaria (Blue Stream or South Stream/ ’Nord’)
LNG?
LNG?
Concept 1

## Slide 13
Caspian or Russian gas via Greece (TGI or TAP or South Stream/’Sud’)
LNG?
Mix of gas
via Croatia
Offshore?
Russian gas via Hungary and Serbia or Croatia
Caspian gas via Romania (Nabucco)
Caspian gas via Romania (White Stream & PEGP)
Russian gas via Bulgaria (Blue Stream or South Stream/ ’Nord’)
LNG?
LNG?
Concept 2

## Slide 14
Caspian or Russian gas via Greece (TGI or TAP or South Stream/’Sud’)
LNG?
Mix of gas via Croatia
Offshore?
Russian gas via Hungary and Serbia or Croatia
Caspian gas via Romania (Nabucco)
Caspian gas via Romania (White Stream & PEGP)
Russian gas via Bulgaria (Blue Stream or South Stream/ ’Nord’)
LNG?
LNG?
Concept 3

## Slide 15: Benefits of the Gas Ring
Unites 7 Balkan Energy Markets
  Brings gas deep into currently ungasified areas
  Allows for the development of gas trading
  Enhances both diversity and technical security of supply
Links 7 Gas Markets with EU Neighbors
  Bulgaria, Romania, Greece and Hungary
  Fosters regional economic co-operation in energy
Enables the Development of Gas Fired-Power Plants
  Creates environmental benefits
  Allows for diversification of power generation load
  Provides access to a competitive fuel for new generation
The development of gas-fired ‘anchor customers’ will be of key importance to realize the Ring

## Slide 16: Estimate of Investment Requirements
EC Gas Ring - about US$ 1 billion
CCGT Anchor Load – US$1.3–2.3 billion
Gas Ring Transmission Tariff – US$23–35/Mcm, assuming:
  Long-run demand of 7.3 Bcm/y
  33% initial anchor load (2.4 Bcm/y)
  15 year build up to long-run demand
  Discounting at 15% over 25 years
EC Gas Ring could be developed in phases, but needs to be synchronized with CCGT power station development

## Slide 17
2100 to 3000 MW of combined cycle gas turbine capacity in coastal and south-western Balkans required as anchor load
2.3 to 3.7 bcm/y

## Slide 18: Challenges Ahead
Economic viability of the Ring demonstrated
Indirect environmental, health, security of supply, diversification benefits not quantified
However, major political and commercial risks
  Could jeopardize/delay construction of Gas Ring
  Could potentially increase costs of construction as investors require higher returns
The overall economic, social and environmental benefits of the Gas Ring justify public/grant financing in order to attract the required private financing

## Slide 19: Next Steps to Realize Gas Ring
Presentation of final SEE Gasification Study at Gas Forum in Maribor, November 2007
Discussion on EU, IFI, donor financing to mitigate commercial/political risks of Ring
SEE countries have to prioritize Ring investments
EC Ministerial in December 2007 – opportunity to discuss Ring at political level